## Slide 1
T-Station 85
(Pump)
Pyrometer
Pressure
Sensor
Pyrometer Housing
Quartz Disc
Fixturing Cables
(to ceiling)
Heating
Head
Recirculating
Water Chiller
Induction
Generator
Support Stand
+
-
Cooling Water
Bellows
Quartz Tube (Vacuum Chamber)
KF40 Fitting
Crucible
Induction Coil
KF40 Cross
Relief Valve